## Sheet1
Scan profile settings - 250130
Scan profile: | ITG_VK_FL_Dapi_AF488_TexasRedX_20x
CFM | 10x
TeRedX = ref channel
| LED | 70%
| intensity | 50%
| exposure | 100 ms
| binning | 2x2
smart search
| range | 3900-4100 µm
| onion skin | param 0,2
max # 24
FFM | 20x
TeRedX = ref channel
| LED | 70%
| intensity | 50%
| exposure | 100 ms
| binning | 2x2
smart search
| range | 90 µm
| grid cell size | 2000;2000
Scan | 20x
| binning | 1x1
Dapi
| LED | 30%
| intensity | 50%
| exposure | 3 ms
AF488
| LED | 80%
| intensity | 100%
| exposure | 200 ms
TexasRed X
| LED | 80%
| intensity | 100%
| exposure | 150 ms
Approximately 1 hr 15 min/slide